	PPC lignite fired generation Plants
Decommissioning Plan

9 December 2010

	Unit
	Net capacity (MW)
	Commissioning date
	Old decomm.

date
	New 20-20-20 decomm. Date
	New decomm date no investment
	Comments

	AGIOS DIMITRIOS 1
	274,0 *
	1984
	2028
	2020
	2020
	Limited to 32.000 running hours 2016-23 due to IPPC constraints (Stack 1: units 1&2, stack 2: units 3&4)

	AGIOS DIMITRIOS 2
	274,0 *
	1984
	2029
	2020
	2020
	

	AGIOS DIMITRIOS 3
	283,0*
	1985
	2030
	2020
	2020
	

	AGIOS DIMITRIOS 4
	283,0*
	1986
	2031
	2020
	2020
	

	AGIOS DIMITRIOS 5
	342,0
	1997
	2045
	post 2040
	2040
	Subject to desulp. Invest.

	AMYNTAIO 1
	273,0*
	1987
	2031
	2020
	2020
	Limited to 17500 running hours 2016-23 (single stack)

	AMYNTAIO 2
	273,0*
	1987
	2032
	2020
	2020
	

	MELITI
	289,0
	2003
	2048
	post 2040
	post 2040
	

	KARDIA 1
	275,0*
	1975
	2019
	2019
	2019
	Limited to 17500 running hours 2016-23 (4 separate stacks)

	KARDIA 2
	275,0*
	1975
	2020
	2020
	2020
	

	KARDIA 3
	280,0*
	1980
	2025
	2020
	2020
	

	KARDIA 4
	280,0*
	1981
	2026
	2020
	2020
	

	PTOLEMAIDA 1
	64,0
	1959
	2013
	2010
	2010
	

	PTOLEMAIDA 2
	116,0
	1962
	2013
	2011
	2011
	

	PTOLEMAIDA 3
	116,0
	1965
	2013
	2014
	2014
	

	PTOLEMAIDA 4
	274,0
	1973
	2017
	2015
	2015
	

	LIPTOL 1
	30,0
	1959
	2013
	2012
	2012
	

	LIPTOL 2
	8,0
	1965
	2013
	2012
	2012
	

	MEGALOPOLI 1
	113,0
	Kept in reserve for security of supply
	2010
	2010
	2010
	

	MEGALOPOLI 2
	113,0
	
	2010
	2010
	2010
	

	MEGALOPOLI 3
	255,0
	1975
	2018
	2025
	2025
	Closure because of lignite resource depletion 

	MEGALOPOLI 4
	256,0
	1991
	2028
	post 2030
	2025
	


